## Introduction
Laboratory Water Quality Results Table
Pursuant to The City of Calgary's Drainage Code of Practice, Laboratory Water Quality Results Table must be filled out and submitted when Schedule A – Site Drainage Self Assessment and Application determines additional water test is required.
NOTES:
Only the Required Test tab parameter is needed unless additional parameters are requested by the issuing inspector or there are known contaminants/parameters of concern.
TIPS:
- On certain cells that are blank, they will auto populate once the proper parameters are entered. Ex. Hardness or pH or Temperature.
- If your baseline results have a less than (<) symbol, please do not enter that symbol in the cell but note it in the Notes column.
- If your result exceeds Acute and/or Chronic guideline limits one or both will be highlighted.
- Please note that all units are in mg/L.
LINKS:
Environmental Quality Guidelines for Alberta Surface Waters
Drainage Code of Practice

## Required Test
Laboratory Water Quality Results Table
REQUIRED
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Metals/Metalloids |  | Chronic | Acute
Aluminum - Dissolved1 | mg/L
Arsenic - Total | mg/L | 0.005 | NG
Boron - Total | mg/L | 1.5 | 29
Cadmium - Total2 | mg/L |  |  |  |  | 4e-05 | 0.00037 | 0.00011 | 0.0064
Chromium Total - Hexavalent (Cr VI) | mg/L | 0.001 | NG
Chromium Total - Trivalent (Cr III) | mg/L | 0.0089 | NG
Cobalt - Total2 | mg/L |  | NG
Copper - Total2 | mg/L | NG | [5 empty] | 0.0009 | 0.047
Iron - Dissolved | mg/L | 0.3 | NG
Lead - Total2 | mg/L |  | NG |  |  | 0.001 | 0.007
Mercury - Total | mg/L | 5e-06 | 1.3e-05
Mercury Total - Methyl | mg/L | 1e-06 | 2e-06 |  | Not required unless Total Mercury is over the limit
Molybdenum - Total | mg/L | 0.073 | NG
Nickel - Total2 | mg/L |  |  |  |  | 0.004 | 0.13 | 0.037 | 1.19
Selenium - Total | mg/L | 0.001 | NG
Silver - Total | mg/L | 0.00025 | NG
Thallium - Total | mg/L | 0.0008 | NG
Uranium - Total | mg/L | 0.015 | 0.033
Zinc - Total | mg/L | 0.03 | NG
Ions and General
Hardness (CaCO3) | mg/L | NG | NG
Alkalinity (as CaCO3) | mg/L | 20 | NG
Ammonia - N - Un-ionized | mg/L | 0.016 | NG
Ammonia - N - Total5 | mg/L |  | NG |  |  | 0.018 | 190
Chloride | mg/L | 120 | 640
Chlorine | mg/L | 0.0005 | NG
Cyanide - Free | mg/L | 0.0052 | 0.022
Nitrate - N | mg/L | NG | 124
Nitrite - N4 | mg/L | NG | 0.02 |  | Maximum Nitrite as N (mg/L) - 0.06 | 0.02 | 0.2 | 0.06 | 0.6
pH |  | 6.5 - 9.0 | NG |  |  | 6.5 | 9
Temperature |  | NG | NG
TSS | mg/L | NG | NG
Sulphate3 | mg/L | 128 | NG |  |  | 128 | 429
Sulphide - total | mg/L | 0.0019 | NG
BTEX, F1 & F2
Benzene | mg/L | 0.04 | NG
Toluene | mg/L | 0.0005 | NG
Ethylbenzene | mg/L | 0.09 | NG
Xylene | mg/L | 0.03 | NG
Petroleum Hydrocarbons - F1 | mg/L | NG | 0.15
Petroleum Hydrcarbons - F2 | mg/L | NG | 0.11
1 - Guideline limit applies to pH values of 6.5 -9. For pH <6.5 see Table 1.1 in EQGFASW
2 - Varies with hardness. See Table 1.3 in EQGFASW
3 - Varies with hardness. See Table 1.7 in EQGFASW
4 - Varies with Chloride. See Table 1.4 in EQGFASW
5 - Varies with pH and temperature. See Table 1.2 in EQGFASW
NG - No Guidelines

## PAHs
Laboratory Water Quality Results Table
Optional - PAHs
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Trace Organics - PAH |  | Chronic | Acute
Acenaphthene | mg/L | 0.0058 | NG
Acridine | mg/L | 0.0044 | NG
Anthracene | mg/L | 1.2e-05 | NG
Benz(a)anthracene | mg/L | 1.8e-05 | NG
Benzo(a)pyrene | mg/L | 1.5e-05 | NG
Fluoranthene | mg/L | 4e-05 | NG
Flourene | mg/L | 0.003 | NG
Naphthalene | mg/L | 0.001 | NG
Phenanthrene | mg/L | 0.0004 | NG
Pyrene | mg/L | 2.5e-05 | NG
Quinoline | mg/L | 0.0034 | NG
NG - No Guideline

## Pesticides
Laboratory Water Quality Results Table
Optional - Pesticides
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Trace Organics - PAH |  | Chronic | Acute
Acrolein | mg/L | 0.003 | NG
Aldicarb | mg/L | 0.001 | NG
Atrazine | mg/L | 0.0018 | NG
Bromacil | mg/L | 0.005 | NG
Bromoxynil | mg/L | 0.005 | NG
Captan | mg/L | 0.0013 | NG
Carbaryl | mg/L | 0.0002 | NG
Carbofuran | mg/L | 0.0018 | NG
Chlorothalonil | mg/L | 0.00018 | NG
Chlorpyrifos | mg/L | 2e-06 | 2e-05
Cyanazine | mg/L | 0.002 | NG
D, 2,4 (2,4-D: 2,4-dichlorophenoxy acetic acid) | mg/L | 0.004 | NG
DB,2,4 (2,4-DB: 4-(2,4-dichlorophenoxy) butyric acid) | mg/L | 0.025 | 0.56
Deltamethrin | mg/L | 4e-07 | NG
Demeton | mg/L | 0.0001 | NG
Diazinon | mg/L | 0.00017 | 0.00017
Dicamba | mg/L | 0.01 | NG
Diclofop-methyl | mg/L | 0.0061 | NG
Didecyl dimethyl ammonium chloride (DDAC) | mg/L | 0.0015 | NG
Dimethoate | mg/L | 0.0062 | NG
Dinoseb | mg/L | 5e-05 | NG
Endosulfan | mg/L | 3e-06 | 6e-05
Glyphosate - Most formulations | mg/L | 0.065 | NG
Glyphosate - Pure glyphosate | mg/L | 0.8 | 27
Guthion (Azinphosmethyl) | mg/L | 1e-05 | NG
Imidacloprid | mg/L | 0.00023 | NG
3-lodo-2-propynyl butyl carbamate (IPBC or lodocarb) | mg/L | 0.0019 | NG
Lindane (Hexachloro cyclohexane) | mg/L | 1e-05 | NG
Linuron | mg/L | 0.007 | NG
Malathion | mg/L | 0.0001 | NG
MCPA (4-chloro-2-methyl phenoxy acetic acid) | mg/L | 0.0026 | NG
Mecoprop (MCPP) | mg/L | 0.013 | 10
Methoprene - most waters | mg/L | 9e-05 | NG
Methoprene - target organism management value | mg/L | 0.00053 | NG
Methoxychlor | mg/L | 3e-05 | NG
Metolachlor | mg/L | 0.0078 | NG
Metribuzin | mg/L | 0.001 | NG
Mirex | mg/L | 1e-06 | NG
Parathion | mg/L | 1.3e-05 | 6.5e-05
Permethrin | mg/L | 4e-06 | NG
Picloram | mg/L | 0.029 | NG
Simazine | mg/L | 0.01 | NG
Tebuthiuron | mg/L | 0.0016 | NG
Triallate | mg/L | 0.00024 | NG
Tributyltin (TBT) | mg/L | 7.2e-05 | 0.00046
Trichlorfon | mg/L | 9e-06 | 0.0011
Trifluralin | mg/L | 0.0002 | NG
Triphenyltin | mg/L | 2.2e-05 | NG
NG - No Guideline

## Trace Organics
Laboratory Water Quality Results Table
Optional - Trace Organics
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Trace Organics - PAH |  | Chronic | Acute
Aniline | mg/L | 0.0022 | NG
Carbon Tetrachloride (Tetra Chloromethane) | mg/L | 0.0133 | NG
Chlorinated Alkanes - Short Chain (C10-13) | mg/L | 0.0024 | NG
Chlorinated Alkanes - Medium Chain (C14-17) | mg/L | 0.0024 | NG
Chlorinated Alkanes - Long Chain (C≥18) | mg/L | 0.0024 | NG
Chlorobenzenes - Mono | mg/L | 0.0013 | NG
Chlorobenzenes - Di - 1, 2 | mg/L | 0.0007 | NG
Chlorobenzenes - Di - 1, 3 | mg/L | 0.15 | NG
Chlorobenzenes - Di - 1, 4 | mg/L | 0.026 | NG
Chlorobenzenes - Tri - 1, 2, 3 | mg/L | 0.008 | NG
Chlorobenzenes - Tri - 1, 2, 4 | mg/L | 0.024 | NG
Chlorobenzenes - Tetra (1, 2, 3, 4) | mg/L | 0.0018 | NG
Chlorobenzenes - Penta | mg/L | 0.006 | NG
Chloroform (Trichloromethane) | mg/L | 0.0018 | NG
Chlorophenols - Mono1 | mg/L | 0.007 | NG
Chlorophenols - Di2 | mg/L | 0.0002 | NG
Chlorophenols - Tri3 | mg/L | 0.018 | NG
Chlorophenols - Tetra4 | mg/L | 0.001 | NG
Chlorophenols - Pentachlorophenol | mg/L | 0.0005 | NG
Dichloroethane 1, 2 | mg/L | 0.1 | NG
Dichloromethane (Methylene Chloride) | mg/L | 0.0981 | NG
Diisopropanolamine (DIPA) | mg/L | 1.6 | NG
Diethanolamine | mg/L | 0.45 | NG
Di (2-ethylhexyl) phthalate | mg/L | 0.016 | NG
Di-n-butyl -phthalate | mg/L | 0.019 | NG
Hexabromocyclododedane (HBCD) | mg/L | 0.00056 | NG
Hexachlorobutadiene (HCBD) | mg/L | 0.0013 | NG
Hydrazine | mg/L | 0.0026 | NG
Methanol | mg/L | 1.5 | NG
Methyl tertiary-butyl ether (MTBE) | mg/L | 10 | NG
Monoethanolamine | mg/L | 0.075 | NG
Nonylphenol + ethoxylates | mg/L | 0.0066 | 0.03
Phenols - mono - and dihydric | mg/L | 0.004 | NG
Polybrominated Diphenyl Ethers (PBDEs) - triBDE - total | mg/L | 4.6e-05 | NG
Polybrominated Diphenyl Ethers (PBDEs) - tetraBDE - total | mg/L | 2.4e-05 | NG
Polybrominated Diphenyl Ethers (PBDEs) - pentaBDE - total | mg/L | 2e-07 | NG
Polybrominated Diphenyl Ethers (PBDEs) - pentaBDE - BDE99 | mg/L | 4e-06 | NG
Polybrominated Diphenyl Ethers (PBDEs) - pentaBDE - BDE100 | mg/L | 2e-07 | NG
Polybrominated Diphenyl Ethers (PBDEs) - hexaBDE - total | mg/L | 0.00012 | NG
Polybrominated Diphenyl Ethers (PBDEs) - heptaBDE - total | mg/L | 1.7e-05 | NG
Polybrominated Diphenyl Ethers (PBDEs) - octaBDE - total | mg/L | 1.7e-05 | NG
Resin acids - Dehydroabietic (DHA)5 | mg/L | #N/A | NG |  | Varies with pH
Resin acids - Total5 | mg/L | #N/A | NG |  | Varies with pH
Styrene | mg/L | 0.072 | NG
Sulfolane (Bondelane) | mg/L | 50 | NG
Tetrabromobisphenol A (TBBPA) | mg/L | 0.0031 | NG
Tetrachloroethylene (PCE; 1,1,2,2 - Tetrachloroethene) | mg/L | 0.11 | NG
Trichloroethylene (TCE; 1,1,2-Trichloroethene) | mg/L | 0.021 | NG
1 - Includes 2-3 and 4-chlorophenol
2 - Includes 2, 4-2-5-2, 6-3, 4 and 3, 5-dichlorophenol
3 - Includes 2, 3, 4-2, 3, 5-2, 3, 6-2, 4, 5-2, 4, 6-trichlorophenol
4 - Includes 2, 3, 4, 5-2, 3, 4, 6- and 3, 4, 5, 6-tetrachlorophenol
5 - See Table 1.6 in EQGFASW
NG - No Guideline

## Organics
Laboratory Water Quality Results Table
Optional - Organics
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Trace Organics - PAH |  | Chronic | Acute
Glycols - Diethylene glycol | mg/L | 150 | NG
Glycols - Ethylene glycol | mg/L | 192 | NG
Glycols - 1,2 Propylene glycol | mg/L | 500 | NG
Glycols - Triethylene glycol | mg/L | 350 | NG
NG - No Guideline

## Pharmaceutical
Laboratory Water Quality Results Table
Optional - Pharmaceuticals
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Result (mg/L) | Notes
Pharmaceutically Active Compounds |  | Chronic | Acute
Carbamazepine | mg/L | 0.01 | NG
Ethinylestradiol, 17α- (EE2) | mg/L | 5e-07 | NG
NG - No Guideline

## Toxicity
Laboratory Water Quality Results Table
Optional - Toxicity
Water Sampling Date |  | Project Name |  | Project Address
Lab Name |  | Lab Work Order #
Parameters | Unit | Guideline Limit |  | Toxic Units | Notes
|  | Chronic | Acute
Toxicity | Toxic Units | 1 TUC | 0.3 TUA
NG - No Guideline

## Table 1.1
Table 1.1 Aluminum guidelines for protection of aquatic life at varying pH
pH | Dissolved Aluminum(mg/L)
| Long Term (Chronic) | Short Term (Acute)
5 | 0.007 | 0.023
5.1 | 0.007 | 0.024
5.2 | 0.008 | 0.025
5.3 | 0.009 | 0.027
5.4 | 0.01 | 0.029
5.5 | 0.011 | 0.031
5.6 | 0.012 | 0.033
5.7 | 0.014 | 0.036
5.8 | 0.015 | 0.039
5.9 | 0.018 | 0.043
6 | 0.02 | 0.047
6.1 | 0.024 | 0.052
6.2 | 0.028 | 0.059
6.3 | 0.033 | 0.066
6.4 | 0.04 | 0.074
6.5 | 0.05 | 0.1
7 | 0.05 | 0.1
7.5 | 0.05 | 0.1
8 | 0.05 | 0.1
8.5 | 0.05 | 0.1
9 | 0.05 | 0.1
For pH values <6.5, acute equation is {e(1.209 - 2.2426 (pH) + 0.286 (pH)^2)} x 1000
For pH values <6.5, chronic equation is {e(1.6 - 3.327 (pH) + 0.402 (pH)^2)} x 1000

## Table 1.2
Table 1.2 Ammonia guidelines for protection of aquatic life at varying pH and temperature - Total ammonia, as mg/L of NH3-N
Temperature - Celcius | pH
| 6 | 6.1 | 6.2 | 6.3 | 6.4 | 6.5 | 6.6 | 6.7 | 6.8 | 6.9 | 7 | 7.1 | 7.2 | 7.3 | 7.4 | 7.5 | 7.6 | 7.7 | 7.8 | 7.9 | 8 | 8.1 | 8.2 | 8.3 | 8.4 | 8.5 | 8.6 | 8.7 | 8.8 | 8.9 | 9 | 9.1 | 9.2 | 9.3 | 9.4 | 9.5 | 9.6 | 9.7 | 9.8 | 9.9 | 10
0 | 190 | 151 | 120 | 95.1 | 75.6 | 60 | 47.7 | 37.9 | 30.1 | 23.9 | 19 | 15.1 | 12 | 9.53 | 7.57 | 6.02 | 4.78 | 3.8 | 3.02 | 2.4 | 1.91 | 1.52 | 1.21 | 0.967 | 0.771 | 0.616 | 0.492 | 0.394 | 0.316 | 0.255 | 0.205 | 0.166 | 0.135 | 0.111 | 0.091 | 0.076 | 0.063 | 0.053 | 0.046 | 0.04 | 0.035
1 | 175 | 139 | 110 | 87.5 | 69.5 | 55.2 | 43.8 | 34.8 | 27.7 | 22 | 17.5 | 13.9 | 11 | 8.76 | 6.96 | 5.53 | 4.4 | 3.5 | 2.78 | 2.21 | 1.76 | 1.4 | 1.12 | 0.89 | 0.71 | 0.567 | 0.454 | 0.364 | 0.292 | 0.235 | 0.19 | 0.154 | 0.126 | 0.103 | 0.085 | 0.071 | 0.059 | 0.05 | 0.043 | 0.038 | 0.033
2 | 161 | 128 | 101 | 80.5 | 63.9 | 50.8 | 40.3 | 32 | 25.5 | 20.2 | 16.1 | 12.8 | 10.1 | 8.06 | 6.41 | 5.09 | 4.05 | 3.22 | 2.56 | 2.04 | 1.62 | 1.29 | 1.03 | 0.82 | 0.655 | 0.523 | 0.419 | 0.336 | 0.27 | 0.218 | 0.176 | 0.143 | 0.117 | 0.096 | 0.08 | 0.066 | 0.056 | 0.048 | 0.041 | 0.036 | 0.032
3 | 148 | 117 | 93.3 | 74.1 | 58.9 | 46.8 | 37.1 | 29.5 | 23.4 | 18.6 | 14.8 | 11.8 | 9.34 | 7.42 | 5.9 | 4.69 | 3.73 | 2.96 | 2.36 | 1.88 | 1.49 | 1.19 | 0.948 | 0.756 | 0.604 | 0.483 | 0.387 | 0.311 | 0.25 | 0.202 | 0.163 | 0.133 | 0.109 | 0.09 | 0.074 | 0.062 | 0.053 | 0.045 | 0.039 | 0.034 | 0.03
4 | 136 | 108 | 85.9 | 68.2 | 54.2 | 43.1 | 34.2 | 27.2 | 21.6 | 17.2 | 13.6 | 10.8 | 8.61 | 6.84 | 5.44 | 4.32 | 3.44 | 2.73 | 2.17 | 1.73 | 1.38 | 1.1 | 0.875 | 0.698 | 0.558 | 0.446 | 0.358 | 0.287 | 0.231 | 0.187 | 0.152 | 0.124 | 0.102 | 0.084 | 0.07 | 0.059 | 0.05 | 0.043 | 0.037 | 0.033 | 0.029
5 | 125 | 100 | 79.2 | 62.9 | 50 | 39.7 | 31.5 | 25.1 | 19.9 | 15.8 | 12.6 | 10 | 7.93 | 6.3 | 5.01 | 3.98 | 3.17 | 2.52 | 2 | 1.6 | 1.27 | 1.01 | 0.807 | 0.645 | 0.515 | 0.412 | 0.331 | 0.266 | 0.215 | 0.174 | 0.141 | 0.115 | 0.095 | 0.079 | 0.066 | 0.055 | 0.047 | 0.041 | 0.036 | 0.031 | 0.028
6 | 116 | 91.9 | 73 | 28 | 46.1 | 36.6 | 29.1 | 23.1 | 18.4 | 14.6 | 11.6 | 9.21 | 7.32 | 5.82 | 4.62 | 3.68 | 2.92 | 2.32 | 1.85 | 1.47 | 1.17 | 0.935 | 0.746 | 0.596 | 0.476 | 0.382 | 0.306 | 0.247 | 0.199 | 0.161 | 0.131 | 0.108 | 0.089 | 0.074 | 0.062 | 0.052 | 0.045 | 0.039 | 0.034 | 0.03 | 0.027
7 | 107 | 84.8 | 67.4 | 53.5 | 42.5 | 33.8 | 26.8 | 21.3 | 16.9 | 13.5 | 10.7 | 8.5 | 6.75 | 5.37 | 4.27 | 3.39 | 2.7 | 2.15 | 1.71 | 1.36 | 1.08 | 0.864 | 0.689 | 0.551 | 0.441 | 0.353 | 0.284 | 0.229 | 0.185 | 0.15 | 0.122 | 0.1 | 0.083 | 0.069 | 0.058 | 0.049 | 0.042 | 0.037 | 0.033 | 0.029 | 0.026
8 | 98.6 | 78.3 | 62.2 | 49.4 | 39.3 | 31.2 | 24.8 | 19.7 | 15.6 | 12.4 | 9.88 | 7.85 | 6.24 | 4.96 | 3.94 | 3.13 | 2.49 | 1.98 | 1.58 | 1.26 | 1 | 0.799 | 0.638 | 0.51 | 0.408 | 0.327 | 0.263 | 0.212 | 0.172 | 0.14 | 0.114 | 0.094 | 0.078 | 0.065 | 0.055 | 0.047 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025
9 | 91.1 | 72.4 | 57.5 | 45.7 | 36.3 | 28.8 | 22.9 | 18.2 | 14.5 | 11.5 | 9.12 | 7.25 | 5.76 | 4.58 | 3.64 | 2.9 | 2.3 | 1.83 | 1.46 | 1.16 | 0.926 | 0.739 | 0.59 | 0.472 | 0.378 | 0.304 | 0.244 | 0.197 | 0.16 | 0.13 | 0.107 | 0.088 | 0.073 | 0.061 | 0.052 | 0.044 | 0.039 | 0.034 | 0.03 | 0.027 | 0.025
10 | 84.2 | 66.9 | 53.1 | 42.2 | 33.5 | 26.6 | 21.2 | 16.8 | 13.4 | 10.6 | 8.43 | 6.7 | 5.33 | 4.24 | 3.37 | 2.68 | 2.13 | 1.7 | 1.35 | 1.08 | 0.858 | 0.684 | 0.547 | 0.438 | 0.351 | 0.282 | 0.227 | 0.184 | 0.149 | 0.122 | 0.1 | 0.083 | 0.069 | 0.058 | 0.049 | 0.042 | 0.037 | 0.032 | 0.029 | 0.026 | 0.024
11 | 77.9 | 61.9 | 49.1 | 39 | 31 | 24.6 | 19.6 | 15.6 | 12.4 | 9.82 | 7.8 | 6.2 | 4.93 | 3.92 | 3.12 | 2.48 | 1.97 | 1.57 | 1.25 | 1 | 0.794 | 0.634 | 0.507 | 0.406 | 0.326 | 0.262 | 0.211 | 0.171 | 0.139 | 0.114 | 0.093 | 0.077 | 0.065 | 0.055 | 0.047 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025 | 0.023
12 | 72.1 | 57.2 | 45.5 | 36.1 | 28.7 | 22.8 | 18.1 | 14.4 | 11.4 | 9.09 | 7.22 | 5.74 | 4.56 | 3.63 | 2.88 | 2.29 | 1.83 | 1.45 | 1.16 | 0.923 | 0.736 | 0.588 | 0.47 | 0.377 | 0.302 | 0.243 | 0.197 | 0.159 | 0.13 | 0.106 | 0.088 | 0.073 | 0.061 | 0.052 | 0.044 | 0.038 | 0.034 | 0.03 | 0.027 | 0.025 | 0.023
13 | 66.7 | 53 | 42.1 | 33.4 | 26.6 | 21.1 | 16.8 | 13.3 | 10.6 | 8.41 | 6.69 | 5.31 | 4.22 | 3.36 | 2.67 | 2.13 | 1.69 | 1.35 | 1.07 | 0.855 | 0.683 | 0.546 | 0.437 | 0.35 | 0.281 | 0.227 | 0.183 | 0.149 | 0.121 | 0.1 | 0.082 | 0.069 | 0.058 | 0.049 | 0.042 | 0.037 | 0.032 | 0.029 | 0.026 | 0.024 | 0.022
14 | 61.8 | 49.1 | 39 | 31 | 24.6 | 19.6 | 15.5 | 12.3 | 9.81 | 7.8 | 6.2 | 4.92 | 3.91 | 3.11 | 2.48 | 1.97 | 1.57 | 1.25 | 1 | 0.794 | 0.634 | 0.506 | 0.406 | 0.325 | 0.262 | 0.211 | 0.171 | 0.139 | 0.114 | 0.093 | 0.077 | 0.065 | 0.055 | 0.047 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025 | 0.023 | 0.022
15 | 57.3 | 45.5 | 36.2 | 28.7 | 22.8 | 18.1 | 14.4 | 11.4 | 9.09 | 7.23 | 5.74 | 4.57 | 3.63 | 2.89 | 2.3 | 1.83 | 1.45 | 1.16 | 0.923 | 0.737 | 0.588 | 0.471 | 0.377 | 0.303 | 0.244 | 0.197 | 0.159 | 0.13 | 0.106 | 0.088 | 0.073 | 0.061 | 0.052 | 0.044 | 0.038 | 0.034 | 0.03 | 0.027 | 0.025 | 0.023 | 0.021
16 | 53.1 | 42.2 | 33.5 | 26.6 | 21.2 | 26.8 | 13.4 | 10.5 | 8.43 | 6.7 | 5.33 | 4.23 | 3.37 | 2.68 | 2.13 | 1.7 | 1.35 | 1.08 | 0.857 | 0.684 | 0.547 | 0.438 | 0.351 | 0.282 | 0.227 | 0.184 | 0.149 | 0.122 | 0.1 | 0.082 | 0.069 | 0.058 | 0.049 | 0.042 | 0.037 | 0.032 | 0.029 | 0.026 | 0.024 | 0.022 | 0.021
17 | 49.3 | 39.2 | 31.1 | 24.7 | 19.6 | 15.6 | 12.4 | 9.85 | 7.93 | 6.22 | 4.94 | 3.93 | 3.12 | 2.49 | 1.98 | 1.57 | 1.25 | 1 | 0.797 | 0.636 | 0.508 | 0.407 | 0.327 | 0.263 | 0.212 | 0.171 | 0.139 | 0.114 | 0.094 | 0.078 | 0.065 | 0.055 | 0.047 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025 | 0.023 | 0.022 | 0.021
18 | 45.8 | 36.4 | 28.9 | 22.9 | 18.2 | 14.5 | 11.5 | 9.14 | 7.27 | 5.77 | 4.59 | 3.65 | 2.9 | 2.31 | 1.84 | 1.46 | 1.16 | 0.928 | 0.741 | 0.592 | 0.473 | 0.379 | 0.304 | 0.245 | 0.198 | 0.16 | 0.131 | 0.107 | 0.088 | 0.073 | 0.061 | 0.052 | 0.044 | 0.039 | 0.034 | 0.03 | 0.027 | 0.025 | 0.023 | 0.021 | 0.02
19 | 42.5 | 33.8 | 26.8 | 21.3 | 16.9 | 13.5 | 10.7 | 8.49 | 6.75 | 5.36 | 4.26 | 3.39 | 2.7 | 2.15 | 1.71 | 1.36 | 1.08 | 0.863 | 0.689 | 0.551 | 0.44 | 0.353 | 0.284 | 0.229 | 0.185 | 0.15 | 0.122 | 0.1 | 0.083 | 0.069 | 0.058 | 0.049 | 0.042 | 0.037 | 0.033 | 0.029 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02
20 | 39.5 | 31.4 | 24.9 | 19.8 | 15.7 | 12.5 | 9.93 | 7.89 | 6.27 | 4.99 | 3.96 | 3.15 | 2.51 | 1.99 | 1.59 | 1.26 | 1.01 | 0.803 | 0.641 | 0.513 | 0.41 | 0.329 | 0.265 | 0.213 | 0.173 | 0.14 | 0.115 | 0.094 | 0.078 | 0.065 | 0.055 | 0.047 | 0.041 | 0.035 | 0.031 | 0.028 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02
21 | 36.7 | 29.2 | 23.2 | 18.4 | 14.6 | 11.6 | 9.24 | 7.34 | 5.83 | 4.64 | 3.69 | 2.93 | 2.33 | 1.86 | 1.48 | 1.18 | 0.938 | 0.748 | 0.597 | 0.478 | 0.383 | 0.307 | 0.247 | 0.2 | 0.162 | 0.132 | 0.108 | 0.089 | 0.074 | 0.062 | 0.052 | 0.045 | 0.039 | 0.034 | 0.03 | 0.027 | 0.025 | 0.023 | 0.021 | 0.02 | 0.019
22 | 34.2 | 27.1 | 21.6 | 17.1 | 13.6 | 10.8 | 8.59 | 6.83 | 5.43 | 4.31 | 3.43 | 2.73 | 2.17 | 1.73 | 1.37 | 1.1 | 0.873 | 0.697 | 0.557 | 0.445 | 0.357 | 0.287 | 0.231 | 0.187 | 0.152 | 0.124 | 0.101 | 0.084 | 0.07 | 0.059 | 0.05 | 0.043 | 0.037 | 0.033 | 0.029 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02 | 0.019
23 | 31.8 | 25.3 | 20.1 | 15.9 | 12.7 | 10.1 | 8 | 6.36 | 5.05 | 4.02 | 3.19 | 2.54 | 2.02 | 1.61 | 1.28 | 1.02 | 0.814 | 0.65 | 0.519 | 0.416 | 0.333 | 0.268 | 0.216 | 0.175 | 0.142 | 0.116 | 0.095 | 0.079 | 0.066 | 0.056 | 0.047 | 0.041 | 0.036 | 0.032 | 0.028 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02 | 0.019
24 | 29.6 | 23.5 | 18.7 | 14.8 | 11.8 | 9.37 | 7.45 | 5.92 | 4.7 | 3.74 | 2.97 | 2.37 | 1.88 | 1.5 | 1.19 | 1.95 | 0.759 | 0.606 | 0.484 | 0.388 | 0.311 | 0.251 | 0.202 | 0.164 | 0.133 | 0.109 | 0.09 | 0.075 | 0.063 | 0.053 | 0.045 | 0.039 | 0.034 | 0.03 | 0.027 | 0.025 | 0.023 | 0.022 | 0.02 | 0.019 | 0.019
25 | 27.6 | 21.9 | 17.4 | 13.8 | 11 | 8.73 | 6.94 | 5.51 | 4.38 | 3.48 | 2.77 | 2.2 | 1.75 | 1.4 | 1.11 | 0.887 | 0.708 | 0.565 | 0.452 | 0.363 | 0.291 | 0.235 | 0.189 | 0.154 | 0.125 | 0.103 | 0.085 | 0.071 | 0.059 | 0.05 | 0.043 | 0.038 | 0.033 | 0.029 | 0.027 | 0.024 | 0.023 | 0.021 | 0.02 | 0.019 | 0.018
26 | 25.7 | 20.4 | 16.2 | 12.9 | 10.2 | 8.14 | 6.47 | 5.14 | 4.09 | 3.25 | 2.58 | 2.06 | 1.64 | 1.3 | 1.04 | 0.828 | 0.661 | 0.528 | 0.423 | 0.339 | 0.272 | 0.22 | 0.178 | 0.144 | 0.118 | 0.097 | 0.08 | 0.067 | 0.056 | 0.048 | 0.041 | 0.036 | 0.032 | 0.028 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02 | 0.019 | 0.018
27 | 24 | 19 | 15.1 | 12 | 9.55 | 7.59 | 6.03 | 4.79 | 3.81 | 3.03 | 2.41 | 1.92 | 1.53 | 1.22 | 0.969 | 0.773 | 0.617 | 0.493 | 0.395 | 0.317 | 0.255 | 0.206 | 0.167 | 0.136 | 0.111 | 0.091 | 0.076 | 0.063 | 0.054 | 0.046 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025 | 0.023 | 0.022 | 0.02 | 0.019 | 0.019 | 0.018
28 | 22.4 | 17.8 | 14.1 | 11.2 | 8.91 | 7.08 | 5.63 | 4.47 | 3.56 | 2.83 | 2.25 | 1.79 | 1.42 | 1.14 | 0.905 | 0.722 | 0.577 | 0.461 | 0.37 | 0.297 | 0.239 | 0.193 | 0.157 | 0.128 | 0.105 | 0.086 | 0.072 | 0.06 | 0.051 | 0.044 | 0.038 | 0.033 | 0.03 | 0.027 | 0.025 | 0.023 | 0.021 | 0.02 | 0.019 | 0.018 | 0.018
29 | 20.9 | 16.6 | 13.2 | 10.5 | 8.31 | 6.61 | 5.25 | 4.17 | 3.32 | 2.64 | 2.1 | 1.67 | 1.33 | 1.06 | 0.845 | 0.675 | 0.539 | 0.432 | 0.346 | 0.278 | 0.224 | 0.181 | 0.147 | 0.12 | 0.099 | 0.082 | 0.068 | 0.057 | 0.049 | 0.042 | 0.036 | 0.032 | 0.029 | 0.026 | 0.024 | 0.022 | 0.021 | 0.02 | 0.019 | 0.18 | 0.018
30 | 19.5 | 15.5 | 12.3 | 9.8 | 7.76 | 6.17 | 4.9 | 3.9 | 3.1 | 2.47 | 1.96 | 1.56 | 1.24 | 0.991 | 0.79 | 0.631 | 0.505 | 0.404 | 0.324 | 0.261 | 0.21 | 0.17 | 0.138 | 0.113 | 0.093 | 0.077 | 0.065 | 0.054 | 0.046 | 0.04 | 0.035 | 0.031 | 0.028 | 0.025 | 0.023 | 0.022 | 0.021 | 0.02 | 0.019 | 0.018 | 0.018
Values falling outside the shaded region should be used with caution.
To calculate un-ionized ammonia fraction (f):f = 1/10 {(pKa - pH) + 1}
Where pKa = 0.09101821 + 2729.92/T
T = Temperature in K
T (in K) = T (in oC) = 273.15
Total in NH3 Guideline (as N) = (0.019/f) x 0.8224
Total convert to mg/L total ammonia, multiply the corresponding guideline value by 1.216

## Table 1.3
Table 1.3 Metal guidelines for The Protection of Aquatic Life at varying hardness
Hardness - CaCo3 (mg/L) | Cadmium (mg/L) |  | Cobalt (mg/L) | Copper (mg/L) | Lead (mg/L) | Nickel (mg/L)
| Long-term (Chronic) | Short-term (Acute) | Long Term (Chronic) | Short-term (Acute) | Long-term (Chronic) | Long-term (Chronic) | Short-term (Acute)
5 | 4e-05 | 0.00011 | 0 | 0.0009 | 0.001 | 0.004 | 0.037
10 | 4e-05 | 0.0002 | 0 | 0.0017 | 0.001 | 0.007 | 0.067
15 | 4e-05 | 0.00031 | 0 | 0.0025 | 0.001 | 0.01 | 0.094
20 | 4e-05 | 0.00041 | 0 | 0.0033 | 0.001 | 0.013 | 0.12
25 | 5e-05 | 0.00051 | 0 | 0.0041 | 0.001 | 0.016 | 0.145
30 | 6e-05 | 0.00062 | 0 | 0.0049 | 0.001 | 0.019 | 0.17
35 | 7e-05 | 0.00072 | 0 | 0.0057 | 0.001 | 0.021 | 0.19
40 | 7e-05 | 0.00083 | 0 | 0.0065 | 0.001 | 0.024 | 0.22
45 | 8e-05 | 0.00093 | 0 | 0.0073 | 0.001 | 0.027 | 0.24
50 | 9e-05 | 0.001 | 0 | 0.0081 | 0.001 | 0.029 | 0.26
55 | 0.0001 | 0.0011 | 0.0008 | 0.0089 | 0.001 | 0.031 | 0.28
60 | 0.0001 | 0.0012 | 0.00083 | 0.0097 | 0.001 | 0.034 | 0.3
65 | 0.00011 | 0.0014 | 0.00085 | 0.01 | 0.0018 | 0.036 | 0.33
70 | 0.00012 | 0.0015 | 0.00088 | 0.011 | 0.002 | 0.039 | 0.35
75 | 0.00012 | 0.0016 | 0.00091 | 0.012 | 0.0022 | 0.041 | 0.37
80 | 0.00013 | 0.0017 | 0.00093 | 0.013 | 0.0024 | 0.043 | 0.39
85 | 0.00014 | 0.0018 | 0.001 | 0.014 | 0.0026 | 0.045 | 0.41
90 | 0.00015 | 0.0019 | 0.001 | 0.014 | 0.0028 | 0.048 | 0.43
95 | 0.00015 | 0.002 | 0.001 | 0.015 | 0.003 | 0.05 | 0.45
100 | 0.00016 | 0.0021 | 0.001 | 0.016 | 0.0032 | 0.052 | 0.47
105 | 0.00017 | 0.0022 | 0.001 | 0.017 | 0.0034 | 0.054 | 0.49
110 | 0.00017 | 0.0023 | 0.0011 | 0.018 | 0.0036 | 0.057 | 0.51
115 | 0.00018 | 0.0024 | 0.0011 | 0.018 | 0.0038 | 0.059 | 0.53
120 | 0.00018 | 0.0025 | 0.0011 | 0.019 | 0.004 | 0.061 | 0.55
125 | 0.00019 | 0.0026 | 0.0011 | 0.02 | 0.0042 | 0.063 | 0.57
130 | 0.0002 | 0.0027 | 0.0011 | 0.021 | 0.0044 | 0.065 | 0.59
135 | 0.0002 | 0.0028 | 0.0012 | 0.021 | 0.0047 | 0.067 | 0.6
140 | 0.00021 | 0.003 | 0.0012 | 0.022 | 0.0049 | 0.069 | 0.62
145 | 0.00022 | 0.0031 | 0.0012 | 0.023 | 0.0051 | 0.071 | 0.64
150 | 0.00022 | 0.0032 | 0.0012 | 0.024 | 0.0053 | 0.074 | 0.66
155 | 0.00023 | 0.0033 | 0.0012 | 0.025 | 0.0056 | 0.076 | 0.68
160 | 0.00023 | 0.0034 | 0.0012 | 0.025 | 0.0052 | 0.078 | 0.7
165 | 0.00024 | 0.0035 | 0.0013 | 0.026 | 0.006 | 0.08 | 0.72
170 | 0.00025 | 0.0036 | 0.0013 | 0.027 | 0.0063 | 0.082 | 0.74
175 | 0.00025 | 0.0037 | 0.0013 | 0.028 | 0.0065 | 0.084 | 0.75
180 | 0.00026 | 0.0038 | 0.0013 | 0.028 | 0.0067 | 0.086 | 0.77
185 | 0.00026 | 0.0039 | 0.0013 | 0.029 | 0.007 | 0.088 | 0.79
190 | 0.00027 | 0.004 | 0.0013 | 0.03 | 0.007 | 0.09 | 0.81
195 | 0.00028 | 0.0041 | 0.0013 | 0.031 | 0.007 | 0.092 | 0.83
200 | 0.00028 | 0.0042 | 0.0014 | 0.032 | 0.007 | 0.094 | 0.84
205 | 0.00029 | 0.0044 | 0.0014 | 0.032 | 0.007 | 0.096 | 0.86
210 | 0.00029 | 0.0045 | 0.0014 | 0.033 | 0.007 | 0.098 | 0.88
215 | 0.0003 | 0.0046 | 0.0014 | 0.034 | 0.007 | 0.1 | 0.9
220 | 0.0003 | 0.0047 | 0.0014 | 0.035 | 0.007 | 0.1 | 0.91
225 | 0.00031 | 0.0048 | 0.0014 | 0.035 | 0.007 | 0.1 | 0.93
230 | 0.00032 | 0.0049 | 0.0014 | 0.036 | 0.007 | 0.11 | 0.95
235 | 0.00032 | 0.005 | 0.0015 | 0.037 | 0.007 | 0.11 | 0.97
240 | 0.00033 | 0.0051 | 0.0015 | 0.038 | 0.007 | 0.11 | 0.98
245 | 0.00033 | 0.0052 | 0.0015 | 0.038 | 0.007 | 0.11 | 1
250 | 0.00034 | 0.0053 | 0.0015 | 0.039 | 0.007 | 0.11 | 1.02
255 | 0.00034 | 0.0054 | 0.0015 | 0.4 | 0.007 | 0.12 | 1.04
260 | 0.00035 | 0.0055 | 0.0015 | 0.041 | 0.007 | 0.12 | 1.05
265 | 0.00036 | 0.0056 | 0.0015 | 0.042 | 0.007 | 0.12 | 1.07
270 | 0.00036 | 0.0058 | 0.0015 | 0.042 | 0.007 | 0.12 | 1.09
275 | 0.00037 | 0.0059 | 0.0016 | 0.043 | 0.007 | 0.12 | 1.1
280 | 0.00037 | 0.006 | 0.0016 | 0.044 | 0.007 | 0.12 | 1.12
285 | 0.00037 | 0.0061 | 0.0016 | 0.045 | 0.007 | 0.13 | 1.14
290 | 0.00037 | 0.0062 | 0.0016 | 0.045 | 0.007 | 0.13 | 1.15
295 | 0.00037 | 0.0063 | 0.0016 | 0.046 | 0.007 | 0.13 | 1.17
300 | 0.00037 | 0.0064 | 0.0016 | 0.047 | 0.007 | 0.13 | 1.19
305 | 0.00037 | 0.0065 | 0.0016 | 0.048 | 0.007 | 0.13 | 1.21
310 | 0.00037 | 0.0066 | 0.0016 | 0.048 | 0.007 | 0.14 | 1.22
315 | 0.00037 | 0.0067 | 0.0016 | 0.049 | 0.007 | 0.14 | 1.24
320 | 0.00037 | 0.0068 | 0.0017 | 0.05 | 0.007 | 0.14 | 1.26
325 | 0.00037 | 0.007 | 0.0017 | 0.051 | 0.007 | 0.14 | 1.27
330 | 0.00037 | 0.0071 | 0.0017 | 0.051 | 0.007 | 0.14 | 1.29
335 | 0.00037 | 0.0072 | 0.0017 | 0.052 | 0.007 | 0.15 | 1.3
340 | 0.00037 | 0.0073 | 0.0017 | 0.053 | 0.007 | 0.15 | 1.32
345 | 0.00037 | 0.0074 | 0.0017 | 0.054 | 0.007 | 0.15 | 1.34
350 | 0.00037 | 0.0075 | 0.0017 | 0.055 | 0.007 | 0.15 | 1.35
355 | 0.00037 | 0.0076 | 0.0017 | 0.055 | 0.007 | 0.15 | 1.37
360 | 0.00037 | 0.0077 | 0.0017 | 0.056 | 0.007 | 0.15 | 1.39
365 | 0.00037 | 0.0077 | 0.0017 | 0.057 | 0.007 | 0.16 | 1.4
370 | 0.00037 | 0.0077 | 0.0018 | 0.058 | 0.007 | 0.16 | 1.42
375 | 0.00037 | 0.0077 | 0.0018 | 0.058 | 0.007 | 0.16 | 1.44
380 | 0.00037 | 0.0077 | 0.0018 | 0.059 | 0.007 | 0.16 | 1.45
385 | 0.00037 | 0.0077 | 0.0018 | 0.06 | 0.007 | 0.16 | 1.47
390 | 0.00037 | 0.0077 | 0.0018 | 0.061 | 0.007 | 0.16 | 1.48
395 | 0.00037 | 0.0077 | 0.0018 | 0.061 | 0.007 | 0.17 | 1.5
400 | 0.00037 | 0.0077 | 0 | 0.062 | 0.007 | 0.17 | 1.52
Cadmium: | At hardness ≥ 17 mg/L and ≤ 280 mg/L, long-term equation is 10{0.83[log 10 (hardness) - 2.46]}
Cadmium: | At hardness ≥ 5.3 mg/L and ≤ 360 mg/L, short-term equation is 10{1.016[log 10 (hardness) - 1.71]}
Cobalt: | At hardness ≥ 52 mg/L and ≤ 396 mg/L, long-term equation is e{(0.414[ln(hardness)] - 1.887}
Copper: | Short-term equation is (e{0.979123[ln(hardness)] - 8.64497}) x 1000
Lead: | At hardness > 60 mg/L and ≤ 180 mg/L, long-term equation is e{1.273[ln(hardness)] - 4.705}
Nickel: | Long-term equation is e{0.846[ln(hardness) + 0.0584}
Nickel: | Short-term equation is e{0.846[ln(hardness) + 2.255}

## Table 1.4
Table 1.4 Nitrite-N guidelines for the protection of aquatic life at varying chloride
Chloride (mg/L) | Chloride (mg/L) Lower Limit | 30-d Average Nitrite as N (mg/L) | Maximum Nitrite as N (mg/L)
Less than 2 | 0 | 0.02 | 0.06
2 to 4 | 2 | 0.04 | 0.12
4 to 6 | 4 | 0.06 | 0.18
6 to 8 | 6 | 0.08 | 0.24
8 to 10 | 8 | 0.1 | 0.3
Greater than 10 | 10 | 0.2 | 0.6

## Table 1.6
Table 1.6 Resin acid guidelines for the protection of aquatic life at varying pH
Receiving Water pH | DHA (mg/L) | Total other Resin acids (mg/L)
5 | 0.001 | 0.001
5.5 | 0.002 | 0.003
6 | 0.002 | 0.004
6.5 | 0.004 | 0.009
7 | 0.008 | 0.025
7.5 | 0.012 | 0.045
8 | 0.013 | 0.052
8.5 | 0.014 | 0.06
9 | 0.014 | 0.062

## Table 1.7
Table 1.7 Sulphate guidelines for the protection of aquatic life at varying hardness
Water Hardness (mg/L) | Water Hardness (mg/L) Lower Limit | Sulphate Guideline (mg/L)
Very soft (0 - 30) | 0 | 128
Soft to moderately soft (31 - 75) | 31 | 218
Moderately soft/hard to hard (76 - 180) | 76 | 309
Very hard (181 - 250) | 181 | 429
>250 | 250 | Neet to determine based on site water